## For Review
Strategy Type | Built Storage: Aboveground-Off Channel Storage | Built Storage: Aboveground-On Channel Storage | Underground Storage | Research | Data Collection & Monitoring | Administrative Actions | Outreach and Education | Public Land - Land Management | Agricultural Land - Land Management | Municipal Land - Land Management | Non-Structural Water Storage & Habitat Management | Infrastructure/Land Modification | General Comments (not incorporated in strategies, but noted for next steps)
Description/Examples | Store water for later use and/or flood mitigation off-channel *Utilize existing sloughs to hold excess winter/spring water *New dams/reservoirs *Deepen existing reservoirs (do we have any existing off channel storage?) *Raise the storage levels in existing reservoirs (enlarge or expand) *Enlarge/deepen existing ditches *New linear storage (new ditches and side channels for storage) *Hydroelectric power to offest project costs | Store water for later use and/or flood mitigation on channel *New On Channel dam (storage) *Reroute stream flows during highwater for storage and recharge *Hydroelectric power to offset project costs | Store water for later use in underground aquifers *Aquifer Storage and Recovery in confined alluvial aquifers (develop a new below ground reservoir) *Infiltration galleries (city areas and other areas) *Use floodwater, pump it into an aquifer and use it later *Recharge of basalt wells *Recharge of alluvial wells * Potential underground storage options may involve infil tration using: (a) areas, ponds; (b) through some options mentioned in the 1st proposed strategy, the "Aboveground-Off Channel Storage," such as wet meadows, wetlands, ditches, linear storage; and (c) the river channel (e.g., Santa Cruz River in AZ) * Storing water underground in an underground tank | Research various subjects to assist with project development *Reservoir Research *Flooding and fire oral histories *Use Hampton and Brown study of area geology and pair it with groundwater wells to verify accuracy *Collect anecdotal information from users to see what parts of the watershed have issues *Are there high mercury levels? *Nitrate abatement needed? *Reexamine 303(d) standards to determine if we should advocate for them to be changed *Review demand and supply calculations (including instream water rights). Work to answer questions relating to summer instream flows necessary for a healthy fishery, as well as what channel-forming flows are necessary during the winter for ecological function (the latter will inform availability of winter flows for storage). *Characterize and Understand the Groundwater Resource (rate of change, flow direction) *Study paired forest plots (30% canopy reduction to allow for water storage – Starkey) in coordination with the USFS *Fill data gaps identified in step 2 and 3 reports * (a) Review nonstationarity; (b) expand investigation into long-term data records for temperature, precipitaiton and snow water equivalent (SWE) to better understand basin hydrology; changes, including trends, that may be observed; (c) compare to results of model simulations of historical records; (d) review projections, including literature reviews. * Organize periodic non-stationarity workshops; cover about 2-3 related topics at each workshop; every 1-2 years. * Collaborate with researchers to conduct investigations into and develop new methods for conducting hydrologic analyses that incoroporate non-stationarity of hydrology and climate. * Identify where research in precision agriculture relevant to the Upper Grande Ronde is needed | Collect additional data to expand existing data sets, evaluate effectiveness of strategies, and improve forecasting (long-term) *Install and operate additional stream flow gaging stations in strategic locations. *Coordinate interagency data sharing *Gather data to improve estimates of actual use versus water rights *Improve on farm efficiency monitoring and modeling *Systematic sampling of groundwater wells to create a better network to monitor the condition of the aquifers *Characterize and Understand the Groundwater Resource (rate of change, flow direction) *Monitoring – groundwater quality (nitrates, arsenic, coliform) in addition to surface water quality *Toxic algae blooms (testing, nutrients, temperature) *Spatially distributed and long-term data collection (intensively monitored watershed) *Install flow gages *Improve on farm efficiency monitoring and modeling *Systematic sampling of groundwater wells *Gather data to improve estimates of actual use versus water rights *Coordinate interagency data sharing * Develop an instrumented watershed to : (a) enable more accurate representative water balance computations; (b) build a system dynamaic model to facilitate the water balance as well as, over time, to simulate watershed process to help achieve water quality, restoration; for use in planning, testing physical, operational and management alternatives and other goals; and will include monitoring. *Study paired forest plots (30% canopy reduction to allow for water storage – Starkey) in coordination with the USFS | Utilize existing laws to use water for different purposes in different times of year *Utilize new water reservations (for storage strategies) *Utilize cross basin transfers *Split season leases *leases and transfers *allocation of conserved water *new instream water rights *Develop a water market *Minimum flow agreements (ex: Lostine river, dixie creek - turn water off if below certain point) *Voluntary water lease transfers (ex: 15 mile “FAST” program, stop withdrawals when temperatures are predicted to be lethal for fish) *Source water exchanges – “bucket for bucket exchange” *Develop a wetland mitigation bank *Review the economic sustainability of agriculture, consider advocating for government subsidies for crops that use less water *Replace surface water deficits with groundwater *Instream flow protection *Water banks | Educate the public to reduce water quality issues *Awareness of ECSI listed sites *Promote recycle chemical program (for pesticides, ag and municipal) *Inform the public about best practices for lawn care (fertilizers flow to the creeks) outreach and education needed *Public outreach for toxic algae blooms *We get a city water quality report – maybe watershed wide *promote conservation farming practices *This could/should be expanded to include water quantity issues as well, specifically opportunities to improve water conservation and use efficiencies (address deficits identified in the Step 3 report) | Manage public lands to improve water quality and quantity *Raise organic soil content (forest land) *grazing management on federal lands (range management of wild and domestic ungulates) *timber management on federal lands (manage forest canopy) *Upland land management *Road management for allowing runoff to recharge groundwater, locations, culvert sizing, surfaces (decrease sedimentation through management) *Monitor uplands for erosion (sediment) *Invasive species management *Buffer Zones *Vegetation management – opportunity and costs for each type of project *Fire management *Protect existing high quality habitats *Fish passage and screening *Restore floodplain-riparian-instream connectivity and complexity *Upland spring and meadow protection *Support collaborative forest partnership projects | Manage agricultural land to improve water quality and quantity *Raise organic soil content (agricultural land) *Reduce nutrient (nitrogen and phosphorus) loading through irrigation efficiency and improved nutrient application methods *Improve irrigation efficiency for agriculture and other uses (Efficiency upgrades are a huge opportunity to create a "new" source of water for demands that currently are not being met, i.e., a way to keep ag whole while improving instream flows.) *Plant alternative crops to use less water *Floodway easements for farmers *High residue farming *Prevention of contamination when flooding occurs *Improve farming practices (no till methods, more organics into the soil) *Utilize incentive-based programs | Manage municipal systems and land to improve water quality and quantity *Bioswales (vegetation infiltration) *Filter strips *Point source control *Improve municipal water efficiency and redundancy (including needed infrastructural improvements) *Improve existing stormwater facilities(pipes and ditches) to help channel & control water flow *Stormwater collection *Reduce impervious surfaces and direct runoff *development of water system master plans, or water management and conservation plans, or at least water curtailment plans for each city and a coordinated approach to conservation, system testing and maintenance could help the smaller cities by producing conservation and long-term infrastructure planning. Water reuse also if there are opportubnities remaining. *Non-traditional water supply techniques: Per OWRD 2015 (p. 13) "planning groups should consider alternative or non-traditional water supplies [NTWS], such as the use of rainwater, stormwater, greywater, or desalinated water as a management strategy". While desalination is not applicable to the planning area, the other NTWS warrant consideration. *rainwater collection *stormwater *greywater | Increase "water storage capacity through natural processes using non-structural means" (OWRD 2015); Manage upland, riparian, and instream habitats to benefit water quality and quantity *Reconnect and restore floodplains *Enhance riparian vegetation and stream shading *Upland restoration *Levee Setbacks *Stream restoration (restore channel morphology)/Restore/improve stream channel dimension, pattern and profile *Beaver reintroduction and beaver dam analogues *Alpine meadow restoration *Create new wetlands and reestablish old wetlands *Address channel downcutting and increase bank storage capacity *Wetlands - Create new wetlands and reestablish old wetlands/Improve ability to hold and clean water *Wet meadow restoration/Improve function of wet meadows to capture and store water *Floodplain and wet meadow restoration to increase water storage and reduce flood risk *Levee removal *Fish screening and passage to increase connectivity to cold water refuge *Beavers/Beaver Dams *Introduce Beavers where they are not present, habitat is suitable, and not in conflict with current land use *Improve Forest Canopy to capture snowpack (store and use) - highest elevations USFS land *Sloughs *Improved floodplain function | Develop new infrastructure to control water *physically open up the valley through large land modification project to allow for improved flows and reduction flooding *Construct Levee System to keep farmland from flooding *Pump flood water for storage *Construct a Parallel Flood Channel to alleviate flooding issues *Encourage and incentivize additional Microhydroelectroc power *Control warm water (thermal refuge in winter, divert for later use) *Pipe irrigation ditches to control use and efficiency. *Meet with USACE (Levee Strategy) - invite to meetings | *Outreach: all landowners in Union County should be invited to place-based planning via personal letters *Lots of ideas here, many don't seem practical - flood reduction should be the priority and then water for late season use *government agencies are different than other stakeholders *these strategies lack meaning now because we need to spend more time developing our objectives and metrics (want a strategic plan coordinated among groups, not a hodge-podge of projects) *There will be value in tying specific strategies to specific critical water issues in terms of geography, scale, etc. to the extent possible so it is more clear what problems are trying to be solved. The water issues currently seem fairly vague. *there does still seem to be a bit of a mismatch as to the scale and categorization of some of the strategies included *Perhaps sorting by the mechanism (e.g., “ecosystem restoration”) rather than the function (e.g., ”increasing above-ground storage”) would be an easier way to differentiate these things into a hierarchy that doesn’t have so many redundant components. See diagram in "notes" tab *what to do when a strategy could result in a benefit or detriment is is included in both categories *Some or many of the strategies could be better described so there is less confusion about the intended meaning. *It will important to clarify when the partners vote on different categories/strategies are they voting in support of all the bullets? Some? Will each bullet be voted on? *A lot of these issues are interconnected. Land management, riparian shade, fencing, etc., a lot of it ties together. I would encourage the group to try think more broadly about the linkages, and ask if there are projects that can address multiple issues.
Target Issue: Natural Hazards | x | x | x | x | x | x |  | x | x | x | x | x
Target Issue: Surface Water | x | x |  | x | x | x |  | x | x | x | x | x
Target Issue: Groundwater | x | x | x | x | x | x |  | x | x | x | x
Target Issue: Water Quality | x | x | x | x | x | x | x | x | x | x | x | x
Potential Benefits | *reduced flooding *reduced seasonal surface water deficit (improve late season flows) *improve stream flow for fish and wildlife downstream of reservoir during summer months and provide additional water further downstream for multiple benefits including municipalities, agriculture and recreation *recharge of groundwater *reservoir related habitat enhancements *potential new recreation types (locals and tourism) *potential hydropower *potential improve water quality (reduce stream temperatures and turbidity) *improve fire fighting abilities *produce more food by utilizing the water for agricultural use | *reduced flooding *reduced seasonal water deficit (storage for late season release) *recharge of groundwater *reservoir related habitat enhancements *Recreation benefits *hydropower *improve water quality (reduce stream temperatures and turbidity) *improve fire fighting abilities *increased instream flow *reduced water temperature | *reduced seasonal water deficit *recharge of groundwater *no impacts to land * Reduced evaporation of stored water; more available for multiple beneficial uses. * Potenitally an alternative that may address one of the primary concerns well, but may also facilitate resilience on larger scales *reduced peakflows *see comments below regarding lack of sufficient data to demonstrate benefits | *increased information to develop better projects *utilize existing research to reduce field data collection efforts *Understand best management practices to improve stream width/depth and vegetation for lower temps *Measure flow and flood reduction benefits from on-going Habitat Management actions * Utilize existing data and research to build the foundation of the systems dynamic model; * Ability to conduct more accurate water balance computations; enhance water management and efficient water use; improve and protect water quality and healthy watershed functions; * Promotes sustainability and resilience in agriculture; watershed functioning and the economy. *Address critical uncertainties, identified data gaps *Address climate change impacts *Improve groundwater certainty *Determine channel forming flows/ecological flows *Increased information to determine watershed water quantity and quality sustainability *Increased information to establish metrics and benchmarks for evaluating the effectiveness of water planning actionable strategies | *better quality data *more accurate surface water flow information *improve groundwater certainty *data collection should be tied to a project to determine if a project improves our metrics (ie: water quality) Pre and post monitoring is critical *Better understand cause and effect of management practices *measure flow and flood reduction benefits from on-going Habitat Management actions. *measure effectiveness of water management strategies/actions over time *improve surface-groundwater/hydrogeology characterization *forecasting power - increase ability to detect watershed issues/concerns and develop response strategies to buffer the impacts of those concerns *holistic monitoring could improve decision making *Better understand cause and effect *measure flow and flood reduction benefits from on-going Habitat Management actions. *inform solutions for surface and ground water use *improve effectiveness/efficiency of water management *more accurate surface water flow information *improve groundwater certainty *determine channel forming flows/ecological flows | *flexibility in water use and timing *increase amount of water avaliable at critical times *economic benefits (wetland mitigation bank) *these opportunities can benefit all users *need to recognize the environmental impacts the leases are having on fish (existing leases are working - meeting goals, measurable) * Better meet highest and best use parameters. * greater economic efficiency by making water potentially available for highest value uses *improve efficiency/effectiveness of water management without high captial cost of infrastructure projects *administative actions establish the legal fate of water resources and support the function of infrastructure | *reduced pollution from municipal/residential sources *increased awareness of groundwater quality *increased water use efficiency *reduced erosion and sedimentation *reduced nutrient loading *voluntary implementation of water conservation, which affects demand and supply *increased awareness of surface water quality and quantity and sustainability *Recommend expanding outreach to 2-way tools (rather than limiting to flyers/mailers) to increase personal communication and strategy adoption. For example, land owner tours and hands-on workshops on actionable strategies. | *increased water holding capacity of soil *reduced erosion *improved rangeland and forest conditions *reduced fire risk *Increased flood attenuation *focus on function of natural processes *protection of high quality habitat for ESA-listed species, Oregon State Sensitive/Sensitive Critical species (ODFW 2017), and culturally important fish and wildlife species *improved resiliency to buffer future conditions/events *public lands management that complements neighboring private lands habitat conservation and restoration efforts | *increased water holding capacity of soil *reduced irrigation frequency *improved water quality *flooding resilliancy *increase efficiency of nutrient applications *improved fish and wildlife habitats | *improve surface water quality through filtration *reduce groundwater use *reduce unaccounted for water losses in systems (increased system efficiencies) *increase system preparedness for future water needs/issues/concerns | *improve ESA species habitat (for fish and other species) *improve habitat for species of cultural significance *reduce water quality issues (temperature, nutrients, sedimentation, turbidity) *improve natural water storage *reduce flooding impacts/increase flood attenuation *improve groundwater recharge *improve habitat for terrestrial species *restore natural stream flow patterns *focus on function of natural process *habitat enhancements *reduced seasonal surface water deficit *recreation benefits (locals and tourism) *reduced water quantity deficit extremes *increased habitat connectivity/complexity and reduced seasonal water quantity deficit for ESA-listed salmonids *groundwater recharge (raising groundwater table and increasing hyporheic flow exchange) *increased terrestrial habitat (riparian vegetation benefits, wildlife species benefits) *protection of existing high quality natural storage resources *increase resiliency to buffer future watershed uncertainties | *flooding reduction (for levees, this may not be acheived because extra water is in the system, it gets "pinched" in the levee infrastructure, and ends up going somewhere else in the system) *water flow improvements ? See comments above and below *Improved water efficiency
Potential Barriers/Negatives | *storage right *permitting process - long timeline - uncertain if this could be permitted *feasible location: finding a site that meets hydrology and engineering requirements (enough storage capacity) can be difficult. *fish screen/ESA species impacts *environmental impacts *land ownership *cost and funding availability *degrade water quality *degrade types of habitat (habitat destruction) *loss of recreation types/reduce recreational opportunities *downstream flooding/dam failure/safety (dam failure due to human error in design and/or operations, and/or aging infrastructure) *there can be very mixed public opinion about dams and reservoirs unless the benefits and costs are positive. *cultural impacts/historical preservation *long term management issues (ie: algal blooms) *Could cover up private land, potentially high value farmland/timberland/culturally significant land * Difficulty in quantifying available water and associated reliability * Enhanced soil and subsurface soil moisture may attract invasive and/or noxious plant species/aquatic invasive species risk *Instream flow impact at POD *potential for high spill and catastrophic flooding when high magnitude events (e.g., rain on snow events which are difficult to predict) result in system overloads *long-term facility and operations maintenance | *storage right *permitting process - uncertain if this could be permitted (lawsuits) *fish passage *temperature impacts *environmental impacts *loss of instream habitat *disruption of natural hydrologic function/impact to instream flow during filling period *Could cover up private land, potentially high value farmland/timberland/culturally significant land *cost and available funding *land ownership *finding an area with enough storage capacity/dentifying an appropriate dam/reservoir site *negative water quality impacts (pH, turbidity, dissolved oxygen, algal blooms, methyl mercury) *impossible to build an in-channel dam due to ESA, unless there is an UGR stream that does include ESA-listed critical habitat. * lack of representative estimates of available water for storage and associated reliability. *sediment/bedload transport impacts *potential dam failure/safety *impact to channel forming/ecological flows *Invasive species introductions *habitat favors non-native fish species *operations and maintenance costs | *storage right *permitting process - long timeline *cost *reduce surface water avaliable *impacts to winter channel forming flows/impacts to habitat from reduced winter flows *Getting through the red tape and unknowns could be too high to make this a viable option - you could pump it into the ground but the unknown is what you will get back out *potential site may be in places where it is not reasonable to meet the things we would like to accomplish *Diversion rate for storage is limited (not useful for flood mitigation) * lack of representative estimates of available water for storage and associated reliability. * Would need to determine feasibility; ASR requires a limited license (WR) to test the proposted operation to see if it works as planned *difficulty finding feasible location *impacts to groundwater quality *lack of hydrogeologic data to adequately determine the ability of this strategy to effectively store and recover water for multiple benefits (e.g., aquifer capacity and negative boundarys, infrastructure costs, groundwater quality, etc.) (Snyder/USGS, 2014) *increased stream temperatures due to discharge waters (Snyder 2014) *feasibility of attaining the desired 1-10cfs streamflow augmentation (Snyder 2014) | *unfocused topics - not linked to specific projects * Will need to work to find collaborators and funding partners *concern from residents about how data collected will be used *cost versus benefit of additional data collected | *difficulty implementating (where to install gages, which groundwater wells to sample) *concern from residents about how data collected will be used *cost versus benefit of additional data collected *benefits are unknown - data could be used against you in the end *Data may ask people to change current practices *large scale monitoring could be difficult to maintain and implement but could build on and complement existing network in a more coherent and useful way if done properly *Design monitoring to measure what can be managed to reduce noise *shortages in funding and resources *difficulty implementating (where to install gages, which groundwater wells to sample) *concern from residents about how data collected will be used *cost versus benefit of additional data collected *unsustainable water quality and water quantity resources due to lack of monitoring in the basin *inability to detect and proactively respond to emerging issues or concerns | *piecemeal process (unless a water market is devleoped) - lots of time required for each agreement *legal/permitting challenges *rely on multiple willing actors to work | *limited barriers to implementation - most items would simply be outreach in the form of fliers/mailers *resident/landowner concerns over adopting new strategies over the status quo | *significant permitting/NEPA requirements for work on federal lands *multiple agency actors - work depends on outside priorities *temporary disturbance to ESA listed species likely | *depends on willingness of individual landowners *costs may be high for individual landowners *work would likely be opportunistic - challanging to find project sites *small gains for inputs required (much of this work is already done) *land modifications would occur that could result in reduced farm land avaliable or altered crops *effect of increased soil organic matter content is very small on heavier soils *some practices for increasing soil organic matter (e.g. cover crops) will likely result in a net increase in water use. | *limited municipal improvements currently identified *limited areas to create new bioswales *Improve inadequate existing facilities to handle upstream improvements | *Landownership (gaining permission for projects likely to be opportunistic) *permitting *certainty of results/monitoring requirements *Habitat restoration projects change landscapes, and can result in changing land uses/can take water away from food production *could beaver dams create more severe flooding during high water events? *reduced land use *ecological and socio-cultural benefits would be maximized through strategic, rather than opportunistic, implementation (e.g., protecting existing high quality habitats, expanding restoration areas out from adjacent/proximate cold-water from habitat strongholds, implementing coordinated floodplain and riparian restoration actions, monitoring to assess effectiveness) *Wetlands - needs to dry out completely for recharge to be effective and noxious weed control become a concern *increased pests in wetland environments (mosquitos) | *landownership issues *permitting challenges *may not be supported by existing land users *significant landscape scale changes possible with a new levee system *cost *likely modifications to land use *flood control stuctures (levees) often fail and exacerbate the effects of flooding. *aquatic and terrestrial habitat alteration/degradation *levees "channelize" the river and result in reduced channel-floodplain habitat connectivity/complexity, increased river speeds, higher river flows between and upstream of the levees, increased erosion, increased channel incision, reduced riparian vegetation, and increased flooding outside the levee infrastructure *infrastructure ownership and maintenance costs
Potential Magnitude (notes only) | *storage would only potentially be beneficial in some subwatersheds (how does it address the identified water quantity and quality limitations. Per OWRD 2015 (p.12, citing OAR 690-410-0080), high priority is given to storage that "optimizes instream and out-of-stream public benefits and beneficial uses. Multi-purpose storage is preferred over single-purpose storage".) related to scale, location etc *depends on size of project, but if all new water, impacts would depend on how it is distributed (fairness between user groups is key - everyone must benefit to gain approval) *Magnitude may vary from small to large depending upon size and type of storage. | *storage would only be possible in some subwatersheds *suitable on-channel sites might be more restricted to smaller tributaries that are technically on-channel with anadromous fish, but the impacted reach and population is relatively minor. *All the subwatersheds contain either critical habitat for ESA-listed fish species (steelhead, Chinook, Bull trout), and/or vital habitat for state and/or federal species of conservation concern (Pacific Lamprey, redband trout, Columbia spotted frog, various bird species, etc.), and/or culturally important species (e.g., Mule Deer, Elk) (USFWS 2015, NMFS 2017, ODFW 2017). | *underground storage is only possible in limited areas * Depending on how water is input to an aquifer, for example, infiltration at the surface, additional acreage may need to be acquired. * Storing water underground in an underground tank may require may require additional permitting, such as for construction, etc *Per Snyder/USGS 2014, further data/testing/feasibility work is need to evaluate this strategy, the hydrogeology of the area, aquifer storage/recovery potential, and its impacts (water temperature, surface water - instream, wetlands, springs, local and distant effects on the surface-groundwater environment and other water users). | *not directly linked to projects, but likely helpful to other work | *not directly linked to projects, but groundwater information and surface water information could inform future work *would depend on results | *would depend on how large of a scale these agreements become | *Many of these items address water quality issues from small sources, unlikely to create a large scale change in water quality *Cumulative actions that are coordinated in space & time would likely have measurable (reach and subwatershed scale) changes in water quantity and quality | *much of the land in the watershed is public lands (approximately 40%) work in this area could yield large impacts | *Depends on scale of action, may locations already have conservation practices in place | *limited areas and limited water volume impacted *municipal service areas/systems have potential to improve conservation measures for over the short- (e.g., drought response) and long-term (water efficiencies, adoption of new methods such as greywater, rainwater collection, etc.). | *Depends on scale of implementation, reach to subwatershed scale magnitude *Monitoring is a critical complementary strategy to evaluate implementation and ecological effectiveness outcomes at various scales | *this would impact the valley, but not other portions of the watershed storage only for flooding, not for use later
Potential Costs (notes only) | *New reservoirs would be very high cost, while smaller projects like utilizing existing sloughs could be less expensive *cost-benefit, cost to build, return on investment? *Incentivize management practices to encourage side channels * Innovative, integrated designs that may have broad applicability may be more likely to receive funding *long-term operation and maintenance costs need to be considered as well | *permitting requirements and mitigation would create high costs *Incentivize management practices that encourage stream channel succession that develops lateral bank storage, and reconnecting the stream to the flood plain. *Long-term operation and maintenance costs would be additive to initial construction costs | *Cost benefit ratio *infrasture for diversion, injection and withdraw | *Incentivize management to encourage successional processes | *installation and monitoring of new gages would be a relatively low cost, however would need to be included in future action agency budgets (may not be seen agencies as a low cost given budget constraints, but community support for expanded gaging would be critical) *development of an instrumented watershed and long term maintenance could have moderate costs associated | *Many of these agreements would only have permitting costs to implement | *mailers/fliers are low cost to send and produce *tours, trainings, workshops are more expensive to host but would increase community connections to resource issues and likely increase adoption of actionable strategies | *much of the work would extend existing projects *infrastructure and organizations are already in place | *Depends on scale of action | *municipal conservation improvements can be expensive to implement *potential for federal or other grant sources to offset improvement costs (e.g., EPA/ODEQ, BOR WaterSmart, etc.) | *restoration projects are less costly than infrastructure projects, but costs would depend on the scale and type of work. Passive projects (e.g: cooperative agreements, beaver reintroduction, fencing) are least expensive *state and federal grant funding available to off-set project costs *Cost benefit for natural storage may be better than built storage | *significant earth work associated with levees and Rhinehart gap modifications
Sustainability (notes only) | * Enhanced near- and sub-surface soil moisture has been demonstrated to help mitigate effects of hot, dry conditions (e.g., drought, prolonged hot, dry conditions; heat waves; peak heat of the day), thereby promoting resilence and sustainability * Off-channel reservoirs can offer potential to promote promote resilience and sustainability, however, new hydrologic methods and approaches are needed to quantify available water and associated estimate of reliability. *reservoir subject to sedimentation, filling | *reservoir subject to sedimentation, filling | * Increased reliability of water supplies and healthier watersheds are likely to contribute to sustainability and resilience | *Any improvement in channel morphology and vegetation will be sustained with BMP's | [6 empty] | *recreation benefits (locals and tourism)
Potential Human Impacts | *increased safety *negatively impact neighbors *create an increase in pests/bugs *negatively impact existing recreational opportunities *loss of land and/or habitats *positively impact economic benefits/return on investment * Enhanced sustainability & reliability *location/land ownership *increased property taxes/fees to Union County residents to cover the high project costs | *loss of land use *potential flooding issues due to mismanagement/ageing infrastructure *Loss of river-based recreation *impact to existing infrastructure (homes, roads, utilities) *location/land ownership *increased property taxes/fees to Union county residents to cover the high cost | *belowground locations may have low impacts to people *Per Snyder (2014), "There is not sufficient information to determine the potential for local or distant effects on the environment or on other water users that may result from the operation of an MUS [managed underground storage] system in the Milk Creek sub-area... "Therefore the issue remains unresolved pending further definition of the hydrologic and water quality conditions present in the Milk Creek sub-area and the necessary aquifer storage requirements needed to meet the goals of the MUS system."..."If further work on feasibility is done, consideration should be given to installing continuous water-level recorders in the alluvial aquifer, basalt aquifer, and Catherine Creek that, if present could then be used to determine the possible magnitude of water-level changes and local environment effects." |  | *primary human impacts will be staffing to maintain new monitoring equipment | *A mitigtation bank could reduce land avaliable and leases could impact the amount of water avaliable for agriculture, but could offer mitigation credits and water to higher-value demands, thereby increasing returns to landowners who are voluntarily participating. | *no forseeable negative impacts to people | *some public recreational use of public lands might be temporarily disrupted or altered based on land modifications | *individual land owners would be impacted. *Public impacts are unlikely. |  | *individual landowners where projects occur would be impacted *increased safety *negatively impact neighbors *create an increase in pests/bugs *negatively impact existing recreational opportunities *loss of land *positively impact economic benefits/return on investment * Enhanced sustainability & reliability | *existing landowners likely to be displaced, or experience loss of land *operation/maintenance costs would likely be the responsibility of the land owners/Union County residents (not USACE) - likely cheaper and more effective long-term to buy floodplain acreage where flooding risk and human safety risk is highest.
Sites to Consider | *Higher elevation locations *Upper Catherine Creek reservoir already designed in 1960's? | *Higher elevation locations *Meadow Creek (near Mackentire Road) (Deep and lots of capacity) all new water *Upper Catherine Creek (beneficial to relook there because there has been so much work done there already) | [8 empty] | Use existing tools (e.g., Atlas, BOR Tributary & Geomorphic Assessments, Beaver Restoration Assessment Tool) and monitoring data to identify opportunities/limitations to expanding this strategy on the landscape to address existing water quantity and quality concerns
Notes | *The city of Cove is considering looking at restoring an existing storage pond for the hydro power facility. Would be tied to Mill Creek drainage. Looking to capture high flows in spring of Mill Creek and Bridge Creek to use later for hydro power production with controlled flow release. *reservoir has already been designed for Catherine Creek. *could use reserved water from ODA |  |  | *Good to have more research - Physical models | *Good to have more data |  | *This is interesting and has lots of opportunities, but is also probably necessary- what would this look like? Who would the craft messages? How would landowners dispersed over large areas be engaged? *DEQ is currently working on a pilot project where the OWRD Groundwater and DEQ Cleanup programs are going to coordinate on groundwater right reviews. This is hoping to ensure that wells are not being drilled in areas with contamination. However, domestic wells of a certain size do not require a water right and it is up to the landowner to do this research. I would be interested in learning if landowners would be interested in receiving technical assistance from DEQ in navigating ECSI and/or getting information about potential contamination in the areas where wells may be located. |  | *A tour at 6 Ranch could be an example of actions already being implemented for the ag community to see a tangible project. Maybe there are other ranchers/land owners engaged in other land management practices that could also consult or provide tours?
New idea or already being implemented | *New idea *Revisited idea as past studies have evaluated the feasibility of built storage in the Grande Ronde basin | *New project *Revisited idea as past studies have evaluated the feasibility of built storage in the Grande Ronde basin | *Some research has been done (two feasibility studies), but this would be a new project | New projects | already being implemented, however opportunities exist for expansion | already being implemented, with potential for expansion (are there any legal/administrative barriers to any of these strategies currently?) | already being implemented, with potential for expansion | Already being implemented, with potential for expansion | Already being implemented | Already being implemented, opportunities or needs for expansion? | Already being implemented intensively, with potential for expansion | New project
Action Agency or Potential Action Agency | BOR; Union County; Individual Landowner; Tribes; UCFB; UC Cattleman's; Land Trusts; UCSWCD, ODA; NOAA, USFWS if salmon, steelhead or bull trout occur (or is listed as critical habitat), non-profits; possibly an irrigation district or other special district could be formed to take on the building and magaing of a multipurpose reservoir. UCSWCD could oversee the new reservoir and create a Water District | BOR; Union County; Individual Landowner; Tribes; UCFB; UC Cattleman's; Land Trusts, UCSWCD, ODA | NRCS, GRMW, individual landowner, USGS, ODEQ, OWRD | EOU; ODFW; CTUIR, OSU, DEQ, OWRD, CRITFC, USFS PNW Research lab (La Grande) | ODA, GRMW, Union SWCD; OWRD; ODFW ( ODFW may lack of funding to adequately engage on the monitoring), USFS, TFT, DEQ, CTUIR, CRITFC, OSU, individual landowners | TFWT, GRMW, OWRD, SWCD, NRCS, ODFW, individual landowners | Cities and County; academic institutions; extension services; GRMW, Union SWCD, NRCS, OWEB, DEQ, TFT | USFS/BLM, CTUIR, ODFW (through GNA with USFS) | NCRS, Union SWCD | Cities | CTUIR, GRMW, Union SWCD, Trout Unlimited, ODFW, TFWT, USFS, BOR, BPA, OWEB, NRCS, Individual Landowner, Union County, BOR | USACE
If approved by the group: What is needed/Next Steps | *identify feasible and applicable locations *Apply for OWRD feasibility study (if approved by group) *literature review of old reports and feasibility studies on reservoirs: Recommend as the 1st next step, reviewing these reports and briefly summarizing the feasibility conclusions from these reports in the current water planning document. As the 2nd next step, use the information from these reports and the draft water plan to outline baseline information for the following criteria (per p. 12, OWRD 2015 guidance document recommendations for planning groups considering new storage as a potential water source): *Purpose (e.g., type, location and extent of use, instream and out of stream public benefits and benefical uses); *Legal Requirements (e.g., state, federal, and local legal requirements) *Social Considerations (e.g., recreational, public support, cultural, historic) *Technical Constraints (e.g., siting issues, public safety, structural integrity) *Financial Realities (e.g., project financing including site costs, cost sharing and repayment, and operating, maintenance and rehabilitation costs); *Economic Analysis (e.g., project benefit/cost analysis); *Land Use (e.g., ownership, comprehensive plans, coordination); *Environmental Effects (e.g., impacts on streamflows, fisheries, wildlife, wetlands, habitat, biological diversity, water quality and opportunities for mitigation); *Other (e.g., direct and indirect impacts). *Have group all go meet with Governor's office/Natural Resources Commission (even before site selection) * Investigate non-profit support * Literature review of and Investigations into new methods to quantify estimates of water available for storage, and the associated reliability that incorporate nonstationarity in hydrology and climate (e.g., climate cycles, impacts of LU/LC and policy change ) | *identify feasible and applicable locations *Apply for OWRD feasibility study; permitting and design (if approved by the group) *See comments in cell B18 regarding summarizing information from prior reservoir scoping reports. *Have group all go meet with Governor's office/Natural Resources Commission (even before site selection) | *Apply for OWRD implementation grant to build on the feasibility study information gathered that indicated that Catherine Creek area underground storage of 10 cfs was feasible *address technical concerns/issues identified in Snyder 2014 | *Seek oral history/research funding and partners to complete this work *Gather anecdotal evidence *Identify specific questions for research related to water shortages or uses *define specific research goals and objectives * link to data collection needs *Recommend categorizing the research and prioritizing based on urgent/important data needs for implementing the actionable strategies (e.g., surface water quantity, groundwater quantity, water quality, municipal systems, land management - habitat restoration, public lands, agricultural lands, monitoring, education/outreach, etc.). | *Meet with action agencies and determine scale of project (instrumented watershed or just a few new gages?) and determine funding strategy OWEB/OWRD/ODFW etc *Should meet with DEQ Volunteer Monitoring Program to see how data collection could fit into larger monitoring efforts, and ensure that data collected will meet quality assurances/standardized processes. *define study objectives and develop study plan | *Identify existing projects, create a framework for new ones (water market?) develop funding strategy *identify incentive programs and link to specific actions | *Meet with representatives, determine needs, develop funding strategy *Learn about DEQ pilot | *Inventory of all projects, identify areas to assist *Identify actions specific to meet water conservation goals | *Inventory of all projects, identify areas to assist *There might be some data collection needed here (survey?) to find out who is doing what, the barriers to implementing WQ-friendly land management practices, resource needs. *Identify actions specific to meet water conservation goals | *Inventory of all projects, identify areas to assist *Identify actions specific to meet water conservation goals | *Use Atlas and other tools (e.g., Beaver Restoration Assessment Tool, monitoring data) to identify priority project sites, and determine how the Partnership can assist | *contact USACE for levee strategy * Apply for feasibility study to look into opening up Rhinehart Gap to aleviate flow and flooding issues in the valley
Potential Feasibility Recommended Considered Not Recommended

## critical issues and metrics
Natural Hazards reduce flooding events reduce uncontrolled wildfire events decrease canopy cover
Surface Water 1: sept-nov 7,940 AF deficit 2: jul-nov 10,182 AF deficit 3: jul-nov 10,129 AF deficit 4: jul and nov 1,297 AF deficit 5: jul-nov 13,098 AF deficit 6: jun-oct 58,183 AF deficit 7: jul-sept 7,843 AF deficit 8: jul-nov 510 AF deficit
Groundwater increase spatial and temporal coverage of groundwater wells to improve understanding of system Improve groundwater sustainability (recharge)
Water Quality (measured impairments from Step 2) 1: temperature, pH, DO, algae 2: temperature, pH, DO, algae, E. Coli 3:temperature, pH, algae 4: temperature, pH 5: temperature, pH 6: temperature, pH, algae, E. Coli 7: temperature, pH, DO, algae 8:temperature